CITY OF CHATTANOOGA

INDUSTRIAL

PRETREATMENT PROGRAM

ENFORCEMENT RESPONSE PLAN

CITY OF CHATTANOOGA

ENFORCEMENT RESPONSE PLAN

The City of Chattanooga’s Pretreatment program has been approved by the Environmental Protection Agency (EPA) and the State of Tennessee Department of Environment and Conservation. Therefore, the City is responsible for the enforcement of all Federal, State and Local wastewater discharge regulations. To streamline this effort and to comply with the re-quirements listed in 40 CFR 403.8 (f) (5), the City of Chattanooga has developed an En-forcement Response Plan (ERP). The ERP contains detailed procedures identifying how the City of Chattanooga will investigate and respond to instances of industrial user noncompliance. The ERP is intended for the use of City personnel to address enforcement actions for pre-treatment violations and does not create any rights or obligations nor should it be used or relied upon by non-city personnel for any purpose. The plan describes violations and indicates a range of appropriate enforcement options. It outlines which responses are appropriate and identifies the personnel who should initiate those responses. It also outlines the time frame for taking such actions.

INSIGNIFICANT VS. SIGNIFICANT NONCOMPLIANCE

INSIGNIFICANT (MINOR) NONCOMPLIANCE

Insignificant Noncompliance is defined as relatively minor or infrequent violation of pretreatment standards or requirements.  Instances of Insignificant Noncompliance will be responded to with a Notice of Violation (NOV).  Examples of violations that may be addressed by a NOV are:

*     Failure to file a permit renewal application but continuing to comply with the expired permit.

*     Isolated insignificant exceedence (not more than 1.5 times the limit) of discharge limits.

*     Inadvertently using incorrect sample collection procedures.

*     Failure to properly sign or certify monitoring reports (second occurrence).

*     Missed interim or final compliance deadline by 30 days or less.

*     Filing a late report, including compliance schedule reports (less than 30 days late).

*     Any other violation which:

(a)     causes no known harm to the POTW and/or environment.

(b)     is deemed insignificant by the Director.

(c)     is not defined as Significant Noncompliance by the Environmental

Protection Agency in the General Pretreatment Regulations:

40 CFR 403.

SIGNIFICANT NONCOMPLIANCE OF WASTEWATER

DISCHARGE  LIMITS

The Director shall publish at least annually, in a newspaper(s) of general circulation that pro-vides meaningful public notice within the jurisdiction(s) served by the City of Chattanooga, a

list of the Industrial Users which, at any time during the previous twelve (12) months, were in

Significant Noncompliance with applicable Pretreatment Standards and Requirements.  The term Significant Noncompliance shall be applicable to all Significant Industrial Users (or any other Industrial User that  violates paragraphs (C), (D), or (H) of this Section) and shall mean:

A.     Chronic violations of wastewater discharge limits, defined here as those in which sixty-

six percent (66%) or more of all the measurements taken for the same pollutant parameter

taken during a six (6) month period exceed (by any magnitude) a numeric Pretreatment

Standard or Requirement, including Instantaneous Limits.

B.    Technical Review Criteria (TRC) violations, defined here as those in which thirty-three per-

cent (33%) or more of wastewater measurements taken for each pollutant parameter dur-

ing a six (6) month period equals or exceeds the product of the numeric Pretreatment Stan-

dard or Requirement including Instantaneous Limits multiplied by the applicable criteria

(1.4 for BOD, TSS, fats, oils and grease, and 1.2 for all other pollutants except pH);

C.     Any other violation of a Pretreatment Standard or Requirement (Daily Maximum, long-

term average, Instantaneous Limit, or narrative standard) that the Director determines

has caused, alone or in combination with other discharges, Interference or Pass-Through,

including endangering the health of POTW personnel or the general public;

D.      Any discharge of a pollutant that has caused imminent endangerment to human health,

welfare or to the environment, or has resulted in the Director’s exercise of emergency

authority to halt or prevent such a discharge;

E.       Failure to meet, within ninety (90) days of the scheduled date, a compliance schedule

milestone contained in an individual wastewater discharge permit or enforcement order

for starting construction, completing construction, or attaining final compliance.

F.        Failure to provide within thirty (30) days after the due date, any required reports, includ-

Ing baseline monitoring reports, reports on compliance with categorical Pretreatment

Standard deadlines, periodic self-monitoring reports, and reports on compliance with

compliance schedules;

G.       Failure to accurately report noncompliance; or

H.       Any other violation or group of violations, which may include a violation of Best Manage-

ment Practices, which the Director determines will adversely affect the operation or im-

plementation of the local pretreatment program.

Generally, an isolated instance of noncompliance or a Category 0 violation can be met with an informal response or a Notice of Violation (NOV). Any Category 1 to Category 4 violations should be responded to with an enforceable order that requires a return to compliance by a specific deadline.

NOTICE OF VIOLATION (NOV)

Generally issued by the Pretreatment Supervisor and/or Pretreatment Inspector,  the Notice of Violation (NOV) is an official communication from the City to the non-compliant user that informs the user that a pretreatment violation has occurred. The NOV generally is used for relatively minor or infrequent violations of pretreatment standards and requirements and should be issued within five (5) working days of the identification of a violation.  A NOV may contain assessment of penalties or cost recovery. The NOV generally provides the user with an opportunity to correct the noncompliance on its own initiative rather than according to a schedule of actions determined by the City. The NOV documents the initial attempts of the City to resolve the noncompliance.  Authenticated copies of NOV’s may serve as evidence in judicial proceedings.

SCHEDULE OF COMPLIANCE

A Schedule of Compliance is a detailed list of the steps to be taken by a non-compliant industry whereby compliance with all pretreatment regulations will be achieved. This schedule shall contain increments of progress in the form of dates for the commencement and completion of major events leading to the construction and operation of additional pretreatment required for the User to meet the applicable Pretreatment Standards (e.g. hiring an engineer, completing preliminary plans, executing contracts for components, commencing construction, etc.).

ADMINISTRATIVE  PENALTIES

An administrative penalty is a monetary penalty assessed by the City of Chattanooga for vio-lations of pretreatment standards and requirements. Administrative penalties are to be used as an escalated enforcement action, are punitive in nature, and are not related to a specific cost born by the City. Instead, the amount of the penalty should recapture any economic benefit gained by noncompliance and/or deter future violations. An Administrative Order is to be used to assess an administrative penalty.

ADMINISTRATIVE ORDERS

Administrative Orders are to be issued by the Director or his designee. Administrative Orders are enforcement documents that direct users to undertake and/or cease specified activities. Administrative Orders are to be used as a formal response to significant non-compliance, and may incorporate compliance schedules, administrative penalties, assessments for costs in-curred during investigation and/or enforcement, attorney’s fees, assessments for damages and termination of service. The City of Chattanooga has adopted four (4) general types of Administrative Orders: Compliance Orders, Show Cause Orders, Cease and Desist Orders, and Consent Orders.

COMPLIANCE ORDER

A Compliance Order directs the User to achieve or restore compliance by a specified date and is the primary means of assessing penalties and costs. The Compliance Order will document the noncompliance and state required actions to be accomplished by specific dates and is issued by the Director.

SHOW CAUSE ORDER

An Order to Show Cause directs the User to appear before the Director or his designee, explain its noncompliance, and show cause why more severe enforcement action should not be pursued. The hearing is open to the public and may be formal (i.e. conducted according to the rules of evidence, with verbatim transcripts and cross-examination of witnesses) or informal.  The results of all hearings, along with any data and testimony (recorded by tape machine or stenographer) submitted as evidence, are available to the public and may serve as evidentiary support for future enforcement actions.

CEASE AND DESIST ORDER

A Cease and Desist Order directs a noncompliant User to cease illegal or unauthorized discharge immediately or to terminate discharge altogether. To preserve the usefulness of this order in emergency situations, penalties should not be assessed in this document.  A Cease and Desist order will be used in situations where the discharge is causing interference, pass-through, environmental harm, or otherwise creating an emergency situation.  The order may be issued immediately upon discovery of an emergency situation or following a hearing. In an emergency, the order to cease and desist may be given by telephone with a subsequent written order to be served by the City before the close of business on the next working day.  If the User fails to comply with the order, the City may take independent action to halt the discharge.

ADMINISTRATIVE ORDERS (CONTINUED)

CONSENT ORDER

The Consent Order is an agreement between the City and the User. The Consent Order normally establishes an agreement with the User responsible for the noncompliance.  The order will include specific action to be taken by the User to correct the noncompliance within a time period also specified by the order.  A Consent Order shall have the same force and effect as a Compliance Order.  A Consent Order is appropriate when the User assumes the responsibility for its noncompliance and is willing (in good faith) to correct the causes.

PENALTY ASSESSMENT

The  City of Chattanooga has categorized the various types of violations, and assigned a pen-alty range to each category. Penalty categories are determined by using the Enforcement Response Guide (attached). All penalty assessments will be approved and signed by the Director or his designee. Penalty amounts determined are considered to be an economic de-terrent to the noncompliance being addressed. Penalty ranges have been designed to recover any economic benefit gained by the violation through noncompliance.

CATEGORY    0     =      NO PENALTY

CATEGORY    1     =      $200.00 TO $500.00

CATEGORY    2     =      $500.00 TO $1,000.00

CATEGORY    3     =      $1,000.00 TO $10,000.00

CATEGORY    4     =      DIRECT LEGAL ACTION-

Any penalties and/or costs

to be assessed at the max-

imum penalty allowable by

applicable law and included

as part of the legal action.

Assessments for damages or destruction of the facilities of the POTW, and any penalties, costs, and attorney’s fees incurred by the pretreatment agency as the result of the illegal activity, as well as the expenses involved in enforcement, are not part of this penalty assessment procedure.

NONCOMPLIANCE RESPONSE PROCEDURES

(1)	The personnel identified in the enforcement response guide are responsible for de-

termining that a violation has occurred and what type of enforcement response is

required.

(2)	The time frames for responses are as follows:

(a)	All violations will be identified and documented within five

(5) days of receiving compliance information.

(b)	Initial enforcement responses (involving contact with the

industrial user and requesting information on corrective

or preventative action(s) will occur within fifteen (15)

days of violation detection.

(c)	Follow up actions for continuing or recurring violations will

be taken within sixty (60) days of the initial enforcement re-

sponse.  For all continuing violations, the response will in-

clue a compliance schedule.

(d)	Violations which threaten public health, property or the en-

vironment are considered emergencies and will receive

immediate responses such as halting  the discharge or

terminating service.

(e)	All violations meeting the criteria for significant noncom-

pliance will be addressed with an enforceable order within

thirty (30) days of the identification of significant noncom-

pliance.

USING THE ENFORCMENT RESPONSE GUIDE

The enforcement response guide is used as follows:

(1)	Locate the type of noncompliance in the first column and identify the most accurate

description of the violation in column 2.

(2)	Assess the appropriateness of the recommended response(s) in columns 3 and 4.

Any penalty amounts  will be determined based on the following:

(a)	Magnitude of the Noncompliance.

(b)	Duration and effects of the Noncompliance.

(c)	Effects on the Receiving Stream and the Publicly Owned

Treatment Works (POTW).

(d)	Compliance History of the User.

(e)	Good Faith of the User.

(3)	Apply the enforcement response to the industrial user, specifying corrective actions,

penalty amounts and/or other actions required of the industrial user. Column 5 ident-

ifies responsible personnel.

(4)	Track the industrial user’s response and compliance status and follow-up with escala-

ted enforcement action if a response is not received or violation continues.